The following instructions run you through setting up a project from scratch where an architectural model is linked into an MEP project.

The steps include:

- Entering Project Information

- Linking an Architectural Model

- Copying Levels & Rooms

- Creating Floor Plans

- Copying Architect’s titleblock

- Creating Sheets

- Creating Worksets

- Saving to Central

- Saving as a Local Copy

- Working in the Local Copy

1-Project Information

- Start a new project

- Go to Settings ( Project Information…

- Under Construction, click Edit… next to gbXML Settings.

- Select Office for Building Type from the list.

- Enter the building’s ZIP Code.

- Click OK to close the Type Properties dialog box.

- Next, fill in the Other information.  For example:

Issue Date: 01/01/07

Client Name: Autodesk

Project Address: Anytown, USA 12345

Project Name: Sample Project

Project Number: 6789

On a real project, this information should be available.  It can be filled in at a later date if unknown.

2-Linking an Architectural Revit model

- Save architectural Revit model(s) on the server in the appropriate job folder.  DO NOT RENAME FILE.

- Open the architectural file(s).  BEFORE clicking open, check the Detach from Central option.  Accept any warning prompt that appears.

- Once the file is open, go to File ( Purge Unused…

- Click on Check All then click OK.

- Save and close the file.

- Start a new project.

- Go to File ( Import/Link ( Revit…

- Browse for the Revit building model file.  BEFORE clicking Open, check the Origin to Origin option.  Click Open.

3-Copying Levels & Rooms

- Once the file is open, double-click on one of the default elevation views within the Project Browser if not already selected.

- Zoom (Zoom Region - ZR) into the edge of the building where it shows the Levels (typically on the right hand side of the elevation view).  Revit sets up two levels (Level 1 & Level 2) by default.  Ignore those level designations during setup.  If you click on the model, the level designations associated with the model will turn red (as will the rest of the model) and the default levels will remain black.

- Go to Tools ( Copy/Monitor ( Select Link (or Click the Copy/Monitor toolbar button  and click Select Link.)

- Select the building model and left-click.  In the Design bar (on the left), the Copy/Monitor mode is activated.

- In the Copy/Monitor menu, click Options.

- Under the Rooms tab, at the bottom, click Edit… next to Parameters.

- Select all of the Parameters and click OK.

- Next, click Edit… next to Phases.

- Change Phase from link file for Existing from (none) to Existing (x Rooms).

- Change Phase from link file for New Construction from (none) to New Construction (x Rooms)

- Click OK twice to close Copy/Monitor Options.

- Go to Settings ( Room and Area Settings…

- In the Room and Area Settings dialog box, verify that Compute room volumes is checked.

- Click OK to close the Room and Area Settings dialog box.

- In the Copy/Monitor menu, click Copy.

- Individually click on each Level of the building model.  Allow time for Revit to process the information after each click.  Accept any warnings that may appear.

- After each Level has been copied, click on Copy Rooms in the Design Bar.

- A dialog box should appear indicating that “## Rooms were copied”

- Click OK.

- Click Finish Mode in the Design Bar to close the Copy/Monitor menu.

- If more than one model is linked into the project, you’ll have to follow steps 11-28 for each model.

4-Creating floor plans

- Go to View ( New… ( Floor Plan…

- In the New Plan dialog box, the levels that you copied in steps 23-24 should be listed.  Select them all and click OK.

- By default, Revit sets these new floor plans up as Architectural plans.  In the Project Browser, expand the Architectural heading and you’ll see the new plans that you just created.

- Right-click on each plan individually and then select Duplicate.  Rename the duplicated plans with the floor description and discipline.  For example, change Level 1 to FIRST FLOOR PLAN-MECHANICAL, Level 2 to SECOND FLOOR PLAN-MECHANICAL, and Level 3 to THIRD FLOOR PLAN-MECHANICAL.  These will be used as the plan titles when you set up sheets so name then accordingly.  They can be renamed later if necessary.

- After you duplicate and rename each floor plan, select all of the Mechanical plans and click Properties.  Change the Discipline to Mechanical and set the Sub-Discipline to HVAC.

- Notice that in the Project Browser, the floor plans have moved to under the Mechanical-HVAC Discipline heading.

- Again, select all of the HVAC plans and right-click.  Select Apply View Template.

- In the Select View Template dialog box, select Mechanical Plan, then check the Apply automatically to new view of same type option.  This will set the default display setting for each discipline.  For example, when you set the plumbing plans to a Plumbing Plan View Template, things such as diffusers, light switches, ductwork, etc. won’t display unless you manually turn on those objects (similar to layer states in AutoCAD).

- Click OK.

- Repeat the same procedure for the other disciplines such as Plumbing, Power, Lighting, and Systems as required.  The Plumbing plans will have the discipline of Mechanical and the Sub-Discipline of Plumbing.  The Power plans will have a discipline of Electrical and a sub-discipline of Power.  The Lighting plans will have a discipline of Electrical and a sub-discipline of Lighting.  The Systems plans will have a discipline of Electrical and a sub-discipline of Systems.  If a sub-discipline isn’t listed, you can type one in.

- Once you have created, renamed, set the disciplines and view templates for all of the floor plans, right-click on Views (Discipline) (at the top of the Project browser) and click Properties…

- Change the Type from Discipline to Type/Discipline.  This is an optional step that just groups the plans together in a different method that is a little easier to navigate.

At this point the floor plans are set up, not the plot sheets.  All of the modeling (ductwork, piping, light fixtures, receptacles, etc.) will be done in these floor plans.

5-Copying Architect’s titleblock

When you link in an architectural model, none of the sheets or families come with it.  Therefore you have to copy the titleblock into the new project.  To do this,

- Open the architectural model and find the titleblock within the Project Browser.  It will be under “Annotation symbols”

- Right-Click on the titleblock and click Save.

- Browse for the project file you wish to copy the titleblock into and click Save.

- Close the architectural model.

6-Creating Sheets

- When you are ready to create a sheet, go to View ( New ( Sheet…

- In the Select a Titleblock dialog box, browse for the titleblock within the project file and select it.

- The titleblock will appear and a new sheet will be listed under Sheets (all) in the Project Browser.

- In the Project Browser, left-click (and hold) one of the floor plans such as FIRST FLOOR PLAN-MECHANICAL.  Drag it over to in the middle of the titleblock and unclick the left mouse button.  A “viewport” showing the first floor mechanical plan will appear along with a plan title that has the same name as the floor plan title.

- The floor plan tile appears on the left side of the view window.  However, it can be dragged to anywhere on the sheet.

- By default, Revit brings in an extension line with the plan title.  To turn it off, click on the plan tile and then click the Properties button (or right-click and select properties).

- Click Edit/New… at the top and uncheck Show Extension Line.  Click OK twice and the extension line will turn off.  There may be a way to turn this off by default but I haven’t found it yet.

- To add a north arrow, click Symbol under Drafting in the Design Bar and select North Arrow.  Place it next to the plan title as you normally would.

7-Creating Worksets

- Go to File ( Worksets…

- Click OK in the Worksharing dialog box.

- Click New and create a workset named Mechanical.  Do the same for Plumbing, Lighting, Power, and Systems.

- Click OK to close the Worksets dialog box.  At this point, worksets have been created but they don’t contain any objects.

8-Saving to Central

- Go to File ( Save As…

- Click on the Options… button and verify that Make this the Central location after save option is checked.  (It may already be checked and grayed out which is okay).  Click OK.

- Save the file as MARC_Central.rvt (for this exercise, save it in the folder named with your name which has already been created.)  On a real project, one person will initially set up the whole project and save the central file in the project folder on the server.

- Go to File ( Worksets…

- Select all of the worksets and click Non Editable.

9-Saving as a  Local Copy

- Go to File ( Save As…

- Save the file as MARC_Central.rvt in your C:\Revit Projects folder within a new folder named 2907-MARC.  Each person who is working on the project will have to open the Central file on the server and save a copy on his C: drive.  All modeling is to be done in the local file.

10-Working on the Local Copy

- In order to work on a project you must “check out” a workset.

- In the local copy, go to File ( Worksets… and click on the workset you’d like to work on.  Click Editable on the right and your name will appear as the Owner.  You are now ready to work on the model.  Nobody else can work on this workset until you relinquish your ownership.

- Periodically as you are working on the model, go to File ( Save to Central…  (You will receive reminders to do so.)

- Verify that the Central Location is pointed to the Central file on the server, not the one on your C: drive.  Check the Save the local file after “Save to Central” completes successfully option and click OK.  This will save your work to the central file and to your local copy and allow others to see your work.

- To get an update of all the work in the central file, periodically go to File ( Reload Latest.  You may be prompted to “Save to Central” before it will reload the latest central file information.